Request for Proposal (RFP) – HVAC upgrades for Northwestern Oklahoma State University Alva Campus

Overview: The Northwestern Oklahoma State University (hereinafter referred to as "NWOSU") is seeking proposals from licensed and qualified HVAC vendors to update This will include updates to HVAC units located on the Alva Campus along with any potential electrical or plumbing that may be needed to make units operational. Any cranes used to set units will be arranged through H&J services by NWOSU.

A pre-planning meeting will be held on Thursday, July 30th, 2026 at 9 am at JR Holder Wellness Center.

Scope of Work

Replacement of 1-ton heat pump with water coil located in Science bldg. chemical storage room

Replacement of 3-ton split system located in the Industrial Education bldg. Academic Success Center east room

Replacement of 10 or 12-ton Condenser unit to fan coil for split system located in Education bldg. room 209

Replacement of 3-ton Condenser unit for split system located in Coronado Cafeteria back offices

Proposal Requirements: Interested vendors should submit a proposal that includes the following:

Company Profile:

- Name and address of the vendor

- Brief description of the company’s experience

- Copies of all relevant licenses and insurance certificates

Timeline for completion:

Lump Sum:

Science bldg. replacement:

Industrial Education replacement:

Education bldg. replacement:

Coronado Cafeteria replacement:

Proposal Submission:

- Deadline for Submission: August 6, 2026 3:15 pm

- Submission Method: Sealed proposals should be submitted by mail or in-person to 
	Director of Purchasing 709 Oklahoma Blvd Alva OK 73717

- Contact for Inquiries: 
Lisa Vermillion, Director of Purchasing, lmvermillion@nwosu.edu or 580-327-8535
Monty Herren, Physical Plant Director, 580-748-3570

Evaluation Criteria: Proposals will be evaluated based on the following criteria:

- Experience and reputation of the vendor

- Selection and pricing of project

- Proposed timeline of completion

- Ability to meet legal and insurance requirements

Terms and Conditions:

- NWOSU reserves the right to reject any or all proposals.

- All vendors must comply with applicable local, state, and federal laws.

- The final decision will be communicated no later than August 14, 2026