Request for Proposal (RFP) – HVAC upgrades for Northwestern Oklahoma State University JR Holder Wellness Center Alva Campus

Overview: The Northwestern Oklahoma State University (hereinafter referred to as "NWOSU") is seeking proposals from licensed and qualified HVAC vendors to update This will include updates to HVAC units located on the JR Holder Wellness Center on the Alva Campus along with any potential electrical or plumbing that may be needed to make units operational. Any cranes used to set units will be arranged through H&J services by NWOSU.

A pre-planning meeting will be held on Thursday, July 30th, 2026 at 9 am at JR Holder Wellness Center.

Scope of Work

Replacement of Units 1, 2, 10, and 13 on the attached roof map

Existing unit details:

Unit 1- 15-ton, 249,000 BTU, compressor, 3 phase, 460V

Unit 2- 15-ton, 249,000 BTU, compressor, 3 phase, 460V

Unit 10- 4-ton, 115,000 BTU, 1 phase, 208/230V

Unit 13- 4-ton, 115,000 BTU, 1 phase, 208/230V

Replacement of Units 16, 17, 19, and 20 on the attached roof map

All four units are 4-ton, 115,000 BTU, 3 phase 460V

Proposal Requirements: Interested vendors should submit a proposal that includes the following:

Company Profile:

- Name and address of the vendor

- Brief description of the company’s experience

- Copies of all relevant licenses and insurance certificates

Timeline for completion:

Lump Sum:

Units 1, 2, 10, 13 replacements:

Units 16, 17, 19, 20 replacements:

Proposal Submission:

- Deadline for Submission: August 6, 2026 3:00 pm

- Submission Method: Sealed proposals should be submitted by mail or in-person to 
	Director of Purchasing 709 Oklahoma Blvd Alva OK 73717

- Contact for Inquiries: 
Lisa Vermillion, Director of Purchasing, lmvermillion@nwosu.edu or 580-327-8535
Monty Herren, Physical Plant Director, 580-748-3570

Evaluation Criteria: Proposals will be evaluated based on the following criteria:

- Experience and reputation of the vendor

- Selection and pricing of project

- Proposed timeline of completion

- Ability to meet legal and insurance requirements

Terms and Conditions:

- NWOSU reserves the right to reject any or all proposals.

- All vendors must comply with applicable local, state, and federal laws.

- The final decision will be communicated no later than August 14, 2026